## Yurika Website
Catalogue Number | AC or DC Charger | Charger Description | Unit of Measure | Yurika
2483584 | AC | VersiCharge, Child, Socket, 7kW, 1Ph | EA | 990
2483592 | AC | VersiCharge, Parent, Socket, 7kW, 1Ph | EA | 1330
2483600 | AC | VersiCharge, Child, Socket, 22kW, 3Ph | EA | 1655
2483618 | AC | VersiCharge, Parent, Socket, 22kW, 3Ph | EA | 1990
2483626 | AC | VersiCharge, Child, Tethered, 7kW, 1Ph | EA | 1190
2483634 | AC | VersiCharge, Parent, Tethered, 7kW, 1Ph | EA | 1530
2483642 | AC | VersiCharge, Child, Tethered, 22kW, 3Ph | EA | 1755
2483659 | AC | VersiCharge, Parent, Tethered, 22kW, 3Ph | EA | 2040
2486405 | AC | Versicharge Stand 1-4 Chargers | EA | 990
2483675 | AC | Sicharge CC AC22, Socket, 22kW, 4G | EA | POA
2483683 | AC | Sicharge CC AC22, Socket, 22kW, LAN | EA | POA
2483691 | DC | Sicharge D, Low Flex, 160kW, 2 x CCS2 | EA | 80500
2483709 | DC | Sicharge D, High Flex, 160kW, 2 x CCS2 | EA | 84500
| DC | Sicharge D, Dispensar | EA | 52208
2483733 | DC | Sicharge D, Power Module Kit, 20kW | EA | POA
Yurika Pty Ltd ABN 19 100 214 131 - Part of the Energy Queensland Group
Pricing is valid for 120 days. Equipment not for re-sale. PRICING EXCLUDES GST
Yurika Energy Supplies Pricing

## Inclusions & Exclusions
Yurika Inclusions and Exclusions
Inclusions
— All documentation supplied will be as per Siemens’s standard documentation. Project specific requirements for install and are not part of the equipment price.
— Customer will be ready to accept the goods to site - or an alternative storage to be provided by the customer free of charge to Yurika.
— All imported equipment complies with related standards in the Australia and to IEC standards. All equipment manufactured in Australia or New Zealand complies with related AS/NZS standards.
— Commissioning works are conducted during standard business hours Monday-Friday including travel time on a schedule of rates
— Support services will be conducted within one interstate trip to site if applicable.
— Date plans and SIM Cards for connection to the Siemens backend where applicable
— Spare parts are provided within 14 days in urban areas and 21 days in regional areas (greater than 150kM from CBD)
— Delivery leadtime from purchase order is 14 days in urban areas and 21 days in regional areas (greater than 150km form CBD)
Exclusions
— Technical operation, maintenance, or service
— Foundation design and earthing
— Power supply cable and control cable incl. accessories as plugs and lugs
— Connection works and cable laying
— Erection, commissioning and supervision: In order to ensure proper installation of our products, we require installation of chargers monitored by a qualified electrician.
— Pre-inspection / pre-shipment meetings
— Boarding, lodging and travel / visa expenses for training, Factory Acceptance Testing representatives
— Vehicle integration testing
— Site inductions
— Communication cables where applicable for ModBus TCP/IP

## Spare Parts CC
Order Code | Item Description | Estimate Replacement Duration | Unit Price
FZI:40094.013 | Display unit SICHARGE | 0.5 | 7926.1
FZI:40094.014 | Charging socket type 2 SV+KDV | 0.75 | 709.8
FZI:40094.016 | Display window SICHARGE | 0.5 | 323.7
FZI:40094.017 | Key EMKA f. Half cylinder 1089-U2 , spare key 12B-140 | 0.25 | 161.2
FZI:40094.018 | Profile half cylinder 1089-U2 | 0.25 | 140.4
FZI:40094.019 | Key double bit no.5 | 0 | 59.8
FZI:40094.020 | Bar lock complete | 0.5 | 201.5
FZI:40094.021 | LED topper SICHARGE | 0.5 | 1625
FZI:40094.022 | Axial fan 80x80x25 24V DC | 0.25 | 161.2
FZI:40094.023 | Filter mat 120x120x20mm | 0.083333 | 59.8
TBA | Power Supply Module 230Vac/24Vdc 3A | 0.083333 | 262.6
FZI:40094.025 | Paint touch-up pen RAL9022 | 0 | 182
FZI:40094.026 | Paint touch-up pin RAL9006 | 0 | 182
FZI:40094.027 | Door SICHARGE RAL 9022 | 1 | 1218.1
FZI:40094.028 | Door SICHARGE RAL 9006 | 1 | 1218.1
FZI:40094.029 | Rear panel SICHARGE RAL 9022 | 0.25 | 1015.3
FZI:40094.030 | Rear panel SICHARGE RAL 9006 | 0.25 | 1015.3
FZI:40094.031 | Side panel SICHARGE without bay RAL 9022 | 1 | 1523.6
FZI:40094.032 | Side panel SICHARGE without bay RAL 9006 | 1 | 1523.6
FZI:40094.035 | Loading bay plate right MID | 0.75 | 243.1
FZI:40094.036 | Loading bay plate left MID | 0.75 | 243.1
FZI:40094.037 | Loading bay plate right MID-E | 0.75 | 243.1
FZI:40094.038 | Charging bay plate left MID-E | 0.75 | 243.1
FZI:40094.043 | EHZ meter eMoc eHZ-KW8E2A5L0EF2P_X0-X0 | 0.5 | 811.2
FZI:40094.044 | MID meter KE/S63 | 0.5 | 913.9
FZI:40094.045 | LED meter lighting | 0.25 | 302.9
FZI:40094.046 | GSM antenna module | 0.083333 | 161.2
TBA | RCCB 3P+N 63A 30mA Type B | 0.25 | 1319.5
FZI:40094.048 | SCHRACK AM900003 Signal auxiliary contact | 0.083333 | 120.9
FZI:40094.049 | Overvoltage protection DSH TT 255FM | 0.083333 | 526.5
FZI:40094.060 | Charging cable with charging coupler Mode3 5m | 0.25 | 1218.1
FZI:40094.061 | Bracket for charging coupler type2 | 0.083333 | 323.7
FZI:40094.062 | Cable gland M25 CLICK | 0.25 | 100.1
FZI:40094.063 | House junction box empty (HAK) RAL 9006 | 0.083333 | 4470.7
FZI:40094.071 | Sponge rubber profile EPDM sw 4m | 0.16667 | 140.4
FZI:40094.073 | Retrofit kit insulation mat SICHARGE | 0.083333 | 201.5
FZI:40094.091 | Floor anchor SICHARGE | 0 | 611
FZI:40094.104 | Retrofit kit LAN for modem SICHARGE | 0.5 | 750.1
FZI:40094.169 | Side panel SICHARGE RAL 9006 | 1 | 1523.6
FZI:1034736TE | Hinged cover Bals replacement set without magnet | 0.3 | 201.5
FZI:1043012TE | Hinged cover Bals exchange set with magnet | 0.3 | 262.6
FZI:1042110TE | External antenna GSM | 0.5 | 100.1
FZI:1022313TE | Contactor | 0.3 | 323.7
FZI:1023186TE | Foil charging bay black Standard | 0.5 | 100.1
TBA | Quectel EC21-AU | 0.5 | 302.9
FZI:501427TE | Locking device HAK | 1 | 608.4
FZI:1010935TE | SSD card | 0 | 302.9

## Spare Part D
Order Code | Item Description | Estimated Replacement Duration | Part Price
8EM5903-0AA01-0AA2 | Power Converter AC/DC 20kW | 0.25 | 8832.2
8EM5903-0AA01-0AA4 | Power Supply 12VDC 4,5A | 0.5 | 464.1
8EM5903-0AA01-0AA3 | Power Supply 24VDC 20A | 0.5 | 689
8EM5903-0AA00-8AA2 | Coupler Relay 230VAC/24VDC - 24VDC 1P | 0.5 | 67.6
8EM5903-0AA00-7AA7 | Contactor AC 4x NO 40A 24VDC | 0.5 | 301.6
8EM5903-0AA00-8AA0 | Contactor AC S00 3P 24VDC | 0.5 | 91
8EM5903-0AA00-7AA8 | Contactor DC 2P 500A 1200VDC | 4 | 581.1
8EM5903-0AA00-3AA0 | SPD HRC -Fuse NH00 160A GL/GG | 0.25 | 35.1
8EM5903-0AA00-3AA5 | SPD Cylindrical Fuse 20A 1000V | 0.25 | 67.6
8EM5903-0AA00-3AA6 | Fuse 200A 1250VDC NH1L | 1.5 | 651.3
8EM5903-0AA00-3AA7 | Fuse 500A 1250VDC NH3L | 1.5 | 1582.1
8EM5903-0AA00-3AA8 | Electronic Device Protection 1P 8A 24VDC | 0.5 | 114.4
8EM5903-0AA00-8AA1 | Safety Relay 24VDC 2xNO inst 2xNO delay | 0.5 | 651.3
8EM5903-0AA00-8AA7 | Emergency Stop Mushroom Button 40mm Red | 0.25 | 67.6
8EM5903-0AA00-8AA8 | Holder f. Pushbuttons/ Indicator Lights | 0.5 | 7.8
8EM5903-0AA01-8AA0 | Fuse 250A 1250VDC NH1L | 1.5 | 921.7
8EM5903-0AA02-2AA2 | Electronic Device Protection 1P 6A 24VDC | 0 | 114.4
8EM5903-0AA01-3AA7 | Ethernet Switch 8 Port Unmanaged | 0.5 | 58.5
8EM5903-0AA01-8AA1 | LED Neon Flex Stripe Housing L Long | 1 | 456.3
8EM5903-0AA01-8AA2 | LED Neon Flex Stripe Housing L Short R | 1 | 301.6
8EM5903-0AA02-2AA1 | LED Neon Flex Stripe Housing L Short L | 1 | 301.6
8EM5903-0AA01-4AA4 | Black Panel EmergSt + AC | 3 | 13956.8
8EM5903-0AA01-0AA6 | RFID Reader USB | 1 | 1046.5
8EM5903-0AA00-4AA2 | Radial Fan 355mm 230V | 2 | 1621.1
8EM5903-0AA00-4AA3 | Axial Fan Compact 24VDC | 1 | 223.6
8EM5905-0AA00-0AA3 | Air Filter Mat G4 380x480x20mm | 0.25 | 31.2
8EM5905-0AA00-0AA4 | Air Filter Mat G4 380x550x20mm | 0.25 | 35.1
8EM5905-0AA00-0AA5 | Air Filter Mat G4 220x520x20mm | 0.25 | 23.4
8EM5905-0AA00-0AA6 | Air Filter Mat G4 200x640x20mm | 0.25 | 26
8EM5905-0AA00-0AA8 | Air Filter Mat G4 130x170x20mm | 0.25 | 16.9
8EM5905-0AA00-0AA2 | Cooling Liquid Glysofor N 52% | 1 | 137.8
8EM5903-0AA01-3AA4 | Charging Socket AC Type 2 Mode 3 Shutter | 2 | 689
8EM5903-0AA01-6AA5 | Charging Cable CCS2 250A 1000V 3,8m | 1 | 2308.8
8EM5903-0AA01-3AA3 | Charging Cable CCS2 500A 1000V 3,8m LCC | 2 | 6968
8EM5903-0AA01-3AA2 | Charging Cable CHAdeMO 200A 500V 3,8m | 1 | 9297.6
8EM5903-0AA01-6AA4 | Charging Cable CHAdeMO 125A 500V 3,8m | 1 | 4638.4
8EM5901-1AA02-2AA2 | Sealing plug retainer | 1.5 | 40.3
8EM5902-1AA00-2AA4 | Charging Plug Retainer CCS2 | 1.5 | 91
8EM5902-1AA00-2AA5 | Charging Plug Retainer CHAdeMO | 1.5 | 91
8EM5901-1AA00-0AA5 | Emergency Stop Holder Plastic Part | 1 | 35.1
8EM5903-0AA02-7AA8 | Surge Supressor 3RT 24V | 0 | 67.6
8EM5903-0AA00-2AA4 | RCD Type B 3P+N 40A 30mA | 0.5 | 813.8
8EM5903-0AA00-3AA3 | MCB 400V 3P+N C32 10kA | 0.5 | 208
8EM5903-0AA00-0AA7 | AC Meter 3P 65A Direct Modbus TCP MID | 0.5 | 674.7
8EM5903-0AA00-1AA4 | Voltage Monitoring Device 12VDC | 0.5 | 301.6
8EM5903-0AA01-3AA5 | Cable Charging Socket Actuator | 0 | 137.8
8EM5903-0AA00-7AA5 | MCCB S00 Motor Protect. 3P 0,22-0,32A | 0.5 | 208
8EM5903-0AA00-0AA8 | AC Meter 3P 5A Transformer ModbusTCP MID | 0.5 | 627.9
8EM5903-0AA01-0AA1 | Transfomer 500A/5A KL. 1, 5VA | 2 | 208
8EM5903-0AA01-3AA6 | Socket SCHUKO 16A | 0 | 57.2
8EM5903-0AA00-1AA1 | Door Position Switch 1x NO / 1x NC | 0 | 67.6
8EM5903-0AA01-4AA5 | EMC Filter AC 1P+N 25A | 0 | 464.1
8EM5903-0AA00-8AA4 | EMC Filter AC 3P 600A | 0 | 1396.2
8EM5903-0AA02-8AA0 | Electronic Device Protection 1P+AS F1 4A | 0 | 91
8EM5903-0AA00-2AA6 | RCD/ MCB 1P+N Type A 30mA C6 | 0.5 | 161.2
8EM5903-0AA00-2AA7 | RCD 1P+N Type A 30mA | 0.5 | 91
8EM5903-0AA00-7AA3 | Auxiliary Switch 1x NO /1x NC 3RV2 | 0.5 | 45.5
8EM5903-0AA00-7AA1 | Aux. Switch 3VA1 Changeover Contacts | 3 | 114.4
8EM5903-0AA00-2AA5 | Auxiliary Switch MCB 1xNO / 1xNC | 0.5 | 67.6
8EM5903-0AA00-4AA0 | MCB 230V 1P C10 10kA | 0.5 | 67.6
8EM5903-0AA00-3AA2 | MCB 230V 1P C6 10kA | 0.5 | 67.6
8EM5903-0AA00-6AA6 | MCCB 4P In=630A Ir=441A-630A Icu=70kA | 4 | 4426.5
8EM5903-0AA00-6AA2 | MCCB Motor Protect. 3P 18-25A Ext. Temp. | 0.5 | 440.7
8EM5903-0AA00-6AA4 | Motor Operator 230V 3VA 400A/630A | 2 | 1396.2
8EM5903-0AA00-6AA7 | Undervoltage Release 3VA 24VDC | 3 | 208
8EM5903-0AA02-6AA2 | Charging Cable CCS2 250A 1000V 5,82m | 1 | 3261.7
8EM5903-0AA02-6AA3 | Charging Cable CCS2 500A 1000V 5,82m LCC | 2 | 9085.7
8EM5903-0AA02-6AA4 | Charging Cable CHAdeMO 125A 500V 5,8m | 1 | 3494.4
8EM5903-0AA01-7AA0 | Black Panel EmergSt | 3 | 18636.8
8EM5903-0AA01-3AA8 | Router Ethernet Mobile (4G) WiFi Global | 1 | 813.8
8EM5903-0AA02-6AA8 | Blind Cover 22 mm for Emergency Stop | 0 | 45.5
8EM5903-0AA01-0AA0 | Emergency Stop Contact Module 1x NC | 0.5 | 46.8
8EM5905-0AA00-1AA2 | Fixing Holder for Rod Lock | 0 | 301.6
8EM5905-0AA00-1AA4 | Filter Mat Box Top Side | 0 | 1046.5
8EM5905-0AA00-1AA3 | Filter Mat Box Top Rear | 0 | 1163.5
8EM5905-0AA00-1AA5 | Bowden Cable | 0 | 534.3
8EM5905-0AA00-1AA6 | Cover for Door Opener Button | 0 | 2329.6
8EM5905-0AA00-1AA7 | Roof Plate | 0 | 3261.7
8EM5905-0AA00-1AA8 | Filter Cover Top Rear | 0 | 2203.5
8EM5905-0AA00-2AA0 | Rear Door Complete | 0 | 5824
8EM5905-0AA00-2AA1 | Plinth Panels for Housing | 0 | 4426.5
8EM5903-0AA00-1AA6 | High-Power Fan Heater 1200W 230V | 0.5 | 696.8
8EM5903-0AA01-5AA8 | LED RGBW DMX Controller 24VDC | 0.5 | 464.1
8EM5904-0AA00-1AA1 | Cooling Unit Double-Connection Liquid | 0 | 91
8EM5904-0AA00-1AA3 | Cooling Unit Tube 12 / 8 mm Black | 2 | 137.8
8EM5903-0AA00-1AA7 | Cooling Unit Set Charging Cable 24VDC | 2 | 9318.4
8EM5904-0AA00-1AA2 | Cooling Unit Y-Connection Liquid | 0 | 137.8
8EM5903-0AA00-0AA3 | DC Meter 1000VDC 400A Non-ERK/ Standard | 1 | 3961.1
8EM5903-0AA00-0AA6 | DC Meter 1000VDC 600A Non-ERK/ Standard | 1 | 4426.5
8EM5903-0AA00-0AA1 | Insulation Monit Dev CHAdeMO 2.0_CCS2 | 0.5 | 1861.6
8EM5903-0AA01-0AA5 | Voltage Transducer 1500VDC / 10VDC | 0.5 | 464.1
8EM5903-0AA00-1AA2 | Temperature-/ Humidity- Sensor 24VDC | 1 | 464.1
8EM5903-0AA00-1AA3 | Temperature Sensor PT1000 M8 5m | 0.5 | 161.2
8EM5903-0AA02-7AA1 | Credit Card Reader CCV Contactless | 0 | 1046.5
8EM5903-0AA02-0AA4 | Power Conv. Cable Fast Shutdown 1+3-Pole | 0.5 | 91
8EM5903-0AA02-0AA6 | Power Conv. Cable Fast Shutdown 10-Pole | 0.5 | 91
8EM5903-0AA02-0AA3 | Power Conv. Cable Fast Shutdown 4-Pole | 0.5 | 91
8EM5903-0AA02-0AA5 | Power Conv. Cable Fast Shutdown 6-Pole | 0.5 | 91
8EM5903-0AA02-0AA8 | Power Converter Cable AC-In | 0.5 | 137.8
8EM5903-0AA02-0AA2 | Power Converter Cable CAN 16-Pole | 0.5 | 114.4
8EM5903-0AA02-1AA0 | Power Converter Cable DC-Out | 0.5 | 137.8
8EM5903-0AA00-4AA4 | ET200 Open Controller Linux | 1 | 6523.4
8EM5903-0AA00-4AA7 | ET 200SP Double-BU Type A0 Income 24VDC | 1 | 137.8
8EM5903-0AA00-5AA1 | ET 200SP Double-BU Type A0 Distribution | 1 | 91
8EM5903-0AA00-4AA8 | ET 200SP Analog Out AQ 4XU/I Standard | 1 | 581.1
8EM5903-0AA00-5AA3 | ET 200SP Analog In AI 4XU/I 2-Wire | 1 | 440.7
8EM5903-0AA00-5AA2 | ET 200SP Analog In AI 4xRTD/TC | 1 | 581.1
8EM5903-0AA02-6AA6 | ET 200SP Base Unit Type A0 Income 24VDC | 0 | 91
8EM5903-0AA02-6AA5 | ET 200SP Base Unit Type A0 Distribution | 0 | 67.6
8EM5903-0AA00-4AA5 | ET 200SP Bus Adapter 2XRJ45 | 0.5 | 161.2
8EM5903-0AA00-4AA6 | ET 200SP Digital Out DQ 16x 24VDC/0,5A | 1 | 278.2
8EM5903-0AA00-5AA0 | ET 200SP Digital In DI 16x 24VDC | 1 | 231.4
8EM5903-0AA00-5AA4 | ET 200SP Communication Module CAN | 1 | 790.4
8EM5903-0AA00-5AA5 | LOGO! 12/24RCEO 8xDI 4xDA Ext. Temp. | 1 | 930.8
8EM5903-0AA00-5AA6 | SECC Charge Controller 1x CCS2 | 1 | 2329.6
8EM5903-0AA00-6AA3 | SECC Charge Controller CCS2 CHAdeMO AC | 1 | 3029
8EM5903-0AA00-6AA1 | State Monitor 2x CCS, 1x AC, 1x CHAdeMO | 1 | 1861.6
8EM5903-0AA00-3AA1 | ISO-Cover NH00 | 0 | 45.5
8EM5903-0AA00-2AA8 | HRC Fuse Base Size 00 3P 160A | 0 | 91
8EM5903-0AA00-7AA6 | Signal Detector HRC Fuse Size 000/00/1/2 | 0.5 | 67.6
8EM5903-0AA00-2AA2 | SPD Type2 Ethernet RJ45 Cat-6 | 0.5 | 464.1
8EM5903-0AA00-2AA0 | SPD Type1/Type2 3P+N 400VAC | 0.5 | 581.1
8EM5903-0AA00-2AA3 | SPD Type1 1P 24VDC Signal | 0.5 | 231.4
8EM5903-0AA00-2AA1 | SPD Type2 2P 1000VDC | 0.5 | 581.1
8EM5903-0AA00-3AA4 | Cylindrical Fuse Holder 25A 2P 1000V | 0 | 67.6
8EM5905-0AA00-2AA3 | Drilling Template Foundation SICHARGE D | 0 | 91
8EM5905-0AA00-2AA5 | Mating Face Repair Kit CCS2 250A | 0 | 231.4
8EM5905-0AA00-2AA6 | Mating Face Repair Kit CCS2 500A | 0 | 231.4

## Spare Part UC150
Order Code | Item Description | Part Price
L2D0098340 | CCS Cable EV-T2M4CC-DC200A-6,0M50ESBK11 | 2587.5
L2D0098350 | CCS Cable EV-T2M4CC-DC200A-10M50ESBK11 | 2802.5
3NB1128-4KK11 | FUSIBLE SITOR T. 1L 250A AR 1250V DC | 841.25
3SU1000-1HB20-0AA0 | EM. STOP MUSHROOM PUSHBUTTON, 40MM, RED | 86.25
5SL4208-7 | circuit breaker 400 V 10kA, 2-pole, C, 8A | 108.75
6AV2124-0GC13-0AX0 | SIMATIC HMI TP700 Comfort Outdoor | 4247.5
6EP3333-8SB00-0AY0 | SITOP PSU8200 24 V/5 A | 345
6ES7214-1HG40-0XB0 | CPU 1214C, DC/DC/DC, 14DI/10DO/2AI | 1013.75
6ES7231-5PD32-0XB0 | S7-1200, ANALOG INPUT SM 1231 RTD, 4 AI | 712.5
L2D0091060 | isoEV425 with AGH420 | 2135
L2D0091070 | THERMISTOR NTC 4.7KOHM B57045K | 22.5
L2D0091190 | KTO 011 Thermost.KTO 011,NC,0-60°C-Stego | 108.75
L2D0091200 | CAN Module | 1941.25
L2D0091470 | EVAcharge SE | 4311.25
L2D0091780 | FUSE 5X20MM 5A 250VAC TIME DELAY CERAMIC | 22.5
L2D0092480 | SEMiX303GB12E4s + TIM - IGBT Module | 410
L2D0092690 | LEM 500A 2500:1 - TELCON HT500M | 388.75
L2D0092770 | FANDIS VIRDIS FAN FILT FF15U5 R7035 IP55 | 130
L2D0093620 | GAS FILLED CONTACTOR F.HIGH VOLT. DC SWI | 591.25
L2D0093840 | Router RUT240 Teltonika AU/NZ/SA | 862.5
L2D0094690 | 950uF Capacitor | 475
L2D0094710 | 15uF Capacitor | 108.75
L2D0096000 | Bridge Rectifier Module | 237.5
L2D0096010 | Rectifier Diode Modules | 431.25
L2D0170000 | RGB LEDs TAPE 24V | 237.5
L2D0096090 | Thyristor Modules | 108.75
3NW6230-1 | Fuse 100 A, 500 VAC | 22.5
3NE5330-0MK06 | Fuse 315A 1000VDC | 668.75
L2D0094300 | Fuse 0,5A 250VAC | 22.5
L2D0094620 | Output Varistor | 130
5SD7463-1 | Surge Arrester | 712.5
3VA1332-5EF32-0AA0 | Circuit breaker MCCB_IEC_FS400_320A_3P_55KA_TM240_ ATFM | 3061.25
6EP3333-6SB00-0AY0 | LOGO!Power 24 V / 4 A Stabilized Power Supply Unit | 323.75
L2D0095870 | Capacitor 25uF 1000Vdc 35A | 130
8MR2130-0A | Heater | 195
L2D0091450 | Resistor 33kΩ | 43.75
8MR2110-3B | Heater - door compartment | 195
L2D0096100 | Door switch | 108.75
5SY8363-7 | Circuit breaker 63A C 3P | 582.5
5SY8332-7 | Circuit breaker 32A C 3P | 345
5SY8210-8 | Circuit breaker 10A D 2P | 323.75
5SL6002-7 | Circuit breaker 2A C 1+N | 130
5SL6006-7 | Circuit breaker 6A C 1+N | 108.75
5SM2323-6 | RC unit for 5SL4, 2-pole, type A, In: 40 A, 30 mA | 195
5SL4204-7 | Circuit breaker 4A C 2P | 151.25
3SU1102-6AA20-1AA0 | LED module, with integrated LED 24 V RED | 86.25
3SU1102-6AA40-1AA0 | LED module, with integrated LED 24 V GREEN | 86.25
3SU1102-6AA50-1AA0 | LED module, with integrated LED 24 V BLUE | 86.25
3RV2021-4AA10 | Circuit breaker size 0 A-release 10...16 A N-release 208 A | 195
3RT2047-1NP30 | Input Contactor | 1186.25
L2D0094310 | Fan | 1035
3RT2028-1NP30 | AC contactor | 582.5
L2D0094370 | IGBT Interface Left | 885
L2D0094380 | IGBT Interface Right | 885
L2D0094390 | IGBT Driver | 1100
L2D0094320 | HMI / Display Unit | 1531.25
L2D0094990 | Humidity sensor | 323.75
L2D0094340 | PCB Fans controller | 540
L2D0094330 | PCB Softstart controller | 1207.5
L2D0094360 | PCB Output Board | 776.25
L2D0094260 | Resistor 150kΩ | 22.5
L2D0094290 | Auxiliary transformer | 1510
3SU1500-0AA10-0AA0 | Holder (for RJ45 Female Plug) | Contact APS
3SU1400-1AA10-1CA0 | CONTACT MODULE 1NC | Contact APS
6GK5108-0BA00-2AC2 | SCALANCE XC108, unmanaged IE Switch | Contact APS
5SY8302-7 | CIRCUIT BREAKER 25KA 3P C2 | Contact APS
3VA9988-0BL33 | STL 208-277 V AC 50/60 HZ | Contact APS
3VA9467-0EK21 | 3VA Rotary Handle, Door-Interlock | Contact APS

## Sheet1 (hidden)
Stock Code | Item Description | Unit of Issue | Price
2483584 | VersiCharge, Child, Socket, 7kW, 1Ph | EA | 10
2483592 | VersiCharge, Parent, Socket, 7kW, 1Ph | EA | 20
2483600 | VersiCharge, Child, Socket, 22kW, 3Ph | EA | 30
2483618 | VersiCharge, Parent, Socket, 22kW, 3Ph | EA | 40
2483626 | VersiCharge, Child, Tethered, 7kW, 1Ph | EA | 50
2483634 | VersiCharge, Parent, Tethered, 7kW, 1Ph | EA | 60
2483642 | VersiCharge, Child, Tethered, 22kW, 3Ph | EA | 70
2483659 | VersiCharge, Parent, Tethered, 22kW, 3Ph | EA | 80
2483667 | VersiCharge, Care Extension Package, 12 months extended warranty | EA | 90
2483675 | Sicharge CC AC22, Socket, 22kW, 4G | EA | 100
2483683 | Sicharge CC AC22, Socket, 22kW, LAN | EA | 110
2483691 | Sicharge D, Low Flex, 160kW, 2 x CCS2 | EA | 120
2483709 | Sicharge D, High Flex, 160kW, 2 x CCS2 | EA | 130
2483717 | Sicharge D, Low Flex, 160kW, CCS2 & Chademo | EA | 140
2483725 | Sicharge D, High Flex, 160kW, CCS2 & Chademo | EA | 150
2483733 | Sicharge D, Power Module Kit, 20kW | EA | 160
2483741 | Sicharge D, Care Extension Package, 12 months extended warranty | EA | 170